# Moisture Survey of Wet Rooms 2019

Property: 12 Example Road, Sampleton
Survey date: 6 May 2019
Surveyor: Sampleton Moisture Surveys Ltd

## Method

Surface moisture meter, relative scale 0–200. Readings below 60 are normal, 60 to 90 slightly elevated and above 90 elevated. The reference reading on the dry hallway floor was 28.

## Readings

| Location | Reading | Assessment |
| --- | --- | --- |
| Bathroom floor, next to the shower floor drain | 34 | Normal |
| Bathroom floor, middle | 31 | Normal |
| Bathroom, shower wall | 30 | Normal |
| Sauna floor | 33 | Normal |
| Utility room floor, next to the floor drain | 36 | Normal |
| WC floor | 29 | Normal |

## Conclusion

No elevated readings were found in the wet rooms. The waterproofing was working at the time of the survey.